The 20th Argo Steering Team Meeting, Hangzhou, China, March 13-15, 2019

Japan National Report

(Submitted by Toshio Suga)

1. The Status of implementation (major achievements and problems in 2018)

1.1 Floats deployed and their performance

Japan Agency for Marine-Earth Science and Technology (JAMSTEC) deployed 50 Argo, deep Argo, Biogeochemical (BGC) Argo and Argo equivalent floats from January to December 2018: 5 ARVORs, 2 NAVISs, and 25 APEXs for Core Argo, 8 Deep APEXs, 3 Deep NINJAs, and 2 RINKO-Deep NINJA for deep Argo,  1 BGC APEX and 4 BGC NAVISs for BGC Argo. Since 1999, JAMSTEC had deployed 1277 Argo, deep Argo, BGC Argo and Argo equivalent floats mainly in the Pacific, Indian and Southern Oceans. The current positions of all the active Japanese Argo floats are shown in Fig.1. Collaborating with Japanese voluntary agencies, institutes and schools, all the floats were deployed in 18 cruises. Two floats were deployed by a voluntary cargo ship owned by a Japanese merchant ship company, NYK Line, in July 2018. The arrangement of the semi-regular float deployment by cargo ships was made under the cooperative relationship between JAMSTEC and NYK line, which was established in 2011 to increase float deployment opportunity.

Figure 1: The distribution of active Argo floats. The red dots represent active Japanese floats.

The Japan Meteorological Agency (JMA) deployed 19 Argo equivalent and WBC floats (19 ARVOR floats) in the seas around Japan from January to December 2018. All the floats get 2,000 dbar T/S profiles every 5 days for operational ocean analysis and forecast.

Among 279 floats (14 PROVOR, 167 APEX and 98 ARVOR floats) which JMA has deployed from 2005 to 2018, 54 floats (54 ARVOR floats) are active as of the end of December 2018, while 15 floats (4 APEX and 11 ARVOR floats) terminated the transmission in 2018. JMA deployed 6 ARVOR floats from January to February 2019.

A profiling float for deep ocean observation, Deep NINJA, was developed by JAMSTEC and Tsurumi Seiki Co. Ltd. and has been available for public since April 2013. In December 2018, three Deep NINJA floats were operated. In December 2018, 2 Deep NINJA floats (including a model with RINKO DO sensor) were deployed; one in the tropical Pacific, and the other in the Indian sector of the Southern Ocean. Unfortunately, the latter had lost contact due to a failure at deployment. The data measured by these Deep NINJA floats were transferred to GDAC in accordance with the AST consensus on the data observed by Deep Argo floats.

Okinawa Institute of Science and Technology Graduate University (OIST) deployed 21 Argo equivalent floats from 2011 to 2017. Four Argo equivalent floats (NEMO floats) are active in December 2018.

1.1.1 Deployment of RBRargo CTD APEX float

JAMSTEC deployed two RBRargoCTD APEXs in February 2018 at 27N, 165E where characteristics of water mass at 2000 dbar is stable enough to evaluate the CT sensor accuracy manufactured by RBR. Comparing with shipboard CTD data obtained at the same point, positive biases in salinity (+0.05 PSS-78) were detected in both float data. Based on discussions with RBR technicians, they reproduced a salinity pressure correction scheme to estimate salinity values from conductivity, pressure and temperature sensors, referring all RBRargo CTDs from some contributors. The result is shown in the web site: http://www.argo.ucsd.edu/RBR_CondPres_Correction_31Jan2019.pdf.

1.1.2 Float deployment for the research project “Optimization of tropical Pacific Ocean observation system”

Argo equivalent floats were deployed in the western tropical Pacific to investigate interior ocean disturbances and their source region related to ENSO. The purpose of this project is to make suggestion on effective design of tropical Pacific Observation System (TPOS) for the ENSO prediction, contributing to TPOS2020. Following there NAVIS floats deployed around TRITON moorings along 137E line in 2017, one Deep NINJA was deployed 10S, 130W for a feasibility study in 2018, which try monitoring tropical ocean state by using deep float as a virtual moored array. The obtained data will be compared with some Peruvian coastal ocean monitoring equipment.

1.2 Technical problems encountered and solved

1.2.1 Float hardware troubles on NAVIS float

NAVIS floats, which were purchased in 2013-2015, suffered hardware troubles. The accumulated number of which are 43 of all purchased Navis float for Core, BGC Argo, 42 of them were possibly caused by pump, bulb or bladder system failure, 1 of them was possibly connection trouble, and 2 of them were communication error between sensors and float body. Some of the troubled Navis drifting at sea surface without proper measurement, or missing measurement levels.  Because of efforts for improvement of hardware by SBE, recent version of Navis floats are almost stable. Following the warranty policy, JAMSTEC has received 18 warranty floats until 2018 and 4 floats are still on the watch list.

1.2.2 Deep Ninja with RINKO sensor

In 2018, JAMSTEC developed a new model of Deep NINJA with RINKO DO sensor in cooperation with JFE Advantech Co. Ltd. and Tsurumi Seiki Co. Ltd. In 2018, we made three floats in October 2018. One float was deployed in the Indian sector of the Southern Ocean in December 2018 from R/V Kaiyo-maru, however, it has lost because of a failure at deployment. One of the rests was deployed in the Southern Ocean in January 2019 from R/V Umitaka-maru, and the other was canceled to be deployed there due to a miss-operation of an operator onboard. The float will be deployed in 2019 in the Southern Ocean after several tests of its RINKO sensor. The RINKO DO sensor for deep float (AROD-FT) is already available at JFE Advantech.

1.2.3 Deep APEX

In 2018, JAMSTEC deployed 8 Deep APEXs including 2 dissolved oxygen Deep APEX. One of the floats drifted at sea surface just after deployment, 6 of them appeared in the same situation after a few cycles without acquiring proper data. All troubled Deep APEXs recorded buoyancy control failure in technical logging file. Examination of the cause of trouble is going on, and Teledyne Webb Research, manufacturer of Deep APEX, is trying to improve their firmware APF-11. Because of this troubles, our deployment plan in 2019 will be modified, their deployment to be moved to next FY.

1.3 Status of contributions to Argo data management

The Japan DAC, JMA has operationally processed data from all the Japanese Argo and Argo-equivalent floats including 152 active floats as of February 19, 2019. Ten Japanese PIs agree to provide data to the international Argo. All the profiles from those floats are transmitted to GDACs in the netCDF format and are also issued to GTS using the TESAC and BUFR codes after real-time QC on an operational basis. Argo BUFR messages have been put on GTS since May 2007.

JMA and JAMSTEC have converted the almost all of Japanese meta-files, except a few Iridium floats, from v2 to v3.1 and submitted them to GDACs. JMA has converted almost all of Japanese tech-files and submitted them to GDACs. Accordingly, JMA has converted the Rprof-files of Japanese ARGOS floats, except floats with NST sampling scheme and Iridium floats. JAMSTEC has converted all v2 Dprof-files of Japanese floats to v3.1 and submitted them to GDACs. JMA has converted about 30% of Japanese traj-files from v2 to v3.1 and submitted them to GDACs.

JMA has made meta-, tech-, traj-, and Rprof-files v3.1 of the floats newly deployed since March 2016 and JAMSTEC has made meta-files in v3.1 of JAMSTEC’s floats newly deployed since October 2015. JAMSTEC has made Dprof-files in v3.1 since January 2016.

1.4 Status of delayed mode quality control process

JAMSTEC has submitted the delayed-mode QCed Core data (P, T, and S) of 119,234 profiles to GDACs as of December 2018. JAMSTEC had submitted D-Core files of 4180 profiles in 2018.

2.  Present level of and future prospects for national funding for Argo including a summary of the level of human resources devoted to Argo.
   Japan Argo had been conducted in a 5-year program from FY1999 to FY2004, as a part of Millennium Project implemented under cooperation among the Ministry of Education, Culture, Sports, Science and Technology (operation: by JAMSTEC), the Ministry of Land, Infrastructure and Transport, JMA and Japan Coast Guard. After the Millennium Project terminated in March 2005, JAMSTEC has continued the operation until FY2013 nearly in the same scale (about 80 floats to be deployed every year and associated delayed-mode data management) under its two consecutive mid-term programs for FY2004-2008 and FY2009-2013. JAMSTEC continues the float deployment and delayed mode data management but in the scale somewhat lower than ever before under its new mid-term program FY2014-2018. Because of budget cuts in FY2014-2015, the number of technical staff devoted to delayed mode QC and PARC activities has been decreased from 5 to 4 since FY 2015 and also the number of purchased floats had been reduced to about 12-15. In FY2016, owing to ocean monitoring enhancement recommended by G7 Ise-Shima Summit, especially its Science and Technology Ministers' Meeting in Tsukuba, additional fund for Core Argo and Argo extensions (Deep and BGC Argo) was allocated for aiming to sustain Core Argo array and to enhance Deep and BGC Argo. Furthermore, following its communique and our original research plans, JAMSTEC had got extra research fund to purchase 50 Core, 25 Deep and 10 BGC Argo floats in FY2017, and are being deployed in the Pacific, Indian and Southern Ocean in FY2018-19. From FY2019 JAMSTEC will start new mid-term programs for 7 years. Deployment plan for Core, Deep and BGC Argo are not yet fixed but will be decided soon. JMA allocates operational budget for 27 floats in FY2019..

3.  Summary of deployment plans (level of commitment, areas of float deployment, low or high resolution profiles, Argo extensions) and other commitments to Argo (data management) for the upcoming year and beyond where possible.
    Based on the additional fund, larger number of Core/Deep/BGC Argo floats will be deployed in 2019. To maintain Core Argo array, JAMSTEC will deploy 40 floats mainly in the North Pacific, where the index of deployment intensity is not good and the age of floats tend to be higher than the other area, based on the information from Argo Information Center. Those deployment will help to improve North Pacific Core Argo array. Regarding Deep and BGC Argo, 1 RINKO (DO) Deep NINJA, 8 Deep APEX, 6 BGC Navis with Nutrient (2) and pH (4) floats will be deployed in the Pacific, Indian Oceans and the Southern Ocean. However, the deployment plan might be changed, since some BGC and Deep Argo floats are in troubles as described in section 1.2.

JMA plans to deploy 27 Argo equivalent floats (12 floats are deployed in western boundary region) around Japan in FY2019 and in the coming years. All the JMA floats are identical with the core Argo floats except that they are operated in a 5-day cycle, synchronized with JMA’s real-time ocean data assimilation and forecast system.

JMA continues serving as the Japan DAC. JAMSTEC continues running the Pacific Argo Regional Center for the upcoming year.

4. Summary of national research and operational uses of Argo data as well as contributions to Argo Regional Centers.

Many groups in JAMSTEC, JMA, FRA and Japanese universities are using Argo data for oceanographic researches on water mass formation and transport in the Pacific Ocean, the mid-depth circulation, the mixed layer variation, the barrier layer variation, and tropical atmosphere-ocean interaction in the Pacific and Indian Ocean and so on. Japanese fisheries research community is conducting their biogeochemical studies using Argo floats equipped with chlorophyll and/or oxygen sensors.

The global Argo TESAC and BUFR messages are used for operational ocean analysis and forecast by JMA. Daily and monthly products of subsurface temperatures and currents for the seas around Japan and western North Pacific, based on the output of the real-time ocean data assimilation system (MOVE/MRI.COM-WNP), are distributed through the JMA web site (in Japanese).  Numerical outputs of the system are available from the NEAR-GOOS Regional Real Time Data Base (http://www.data.jma.go.jp/gmd/goos/data/database.html) operated by JMA. Monthly diagnosis and outlook of El Niño-Southern Oscillation based on the outputs of the Ocean Data Assimilation System and the El Niño Prediction System (an ocean-atmosphere coupled model) are also operationally distributed through the JMA web site (in Japanese) and the Tokyo Climate Center (TCC) web site (http://ds.data.jma.go.jp/tcc/tcc/products/elnino/). These systems were upgraded in June 2015 (for descriptions of the new systems, please refer to http://ds.data.jma.go.jp/tcc/tcc/products/elnino/move_mricom-g2_doc.html, and http://ds.data.jma.go.jp/tcc/tcc/products/model/outline/cps2_description.html). The ocean-atmosphere coupled model is also used for seasonal forecast of climate in Japan. The model products for seasonal forecast are available from the TCC web site (http://ds.data.jma.go.jp/tcc/tcc/products/model/).

JAMSTEC is providing a variety of products including objectively mapped temperature and salinity field data (Grid Point Value of the Monthly Objective Analysis using Argo float data: MOAA-GPV: http://www.jamstec.go.jp/ARGO/argo_web/MapQ/Mapdataset_e.html), objectively mapped velocity field data based on YoMaHa’07 (version September 2010) (http://www.jamstec.go.jp/ARGO/argo_web/G-YoMaHa/index_e.html), and gridded mixed layer depth with its related parameters (Mixed Layer data set of Argo, Grid Point Value: MILA-GPV http://www.jamstec.go.jp/ARGO/argo_web/MILAGPV/index_e.html). JAMSTEC have released Argo temperature and salinity profile data put through more advanced automatic checks than real-time quality controls (Advanced automatic QC Argo Data version 1.2a) since October 2014. JAMSTEC has also provided scientifically quality controlled data of Deep NINJA for convenient use on scientific or educational purposes (http://www.jamstec.go.jp/ARGO/deepninja/). The QC is based on comparisons with high accurate shipboard CTD observations conducted nearby float observations.

JAMSTEC is also providing information about consistency check of float data related to delayed-mode QC for the Pacific Argo Regional Center (PARC) web site as a main contributor.

ESTOC (Estimated state of ocean for climate research) is a JAMSTEC product; an integrated dataset of ocean observations including Argo data by using a four dimensional variational (4D-VAR) data assimilation approach. ESTOC is the open data that consists of not only physical but also biogeochemical parameters. It is upgraded to version 3a in March 2018 to cover 58-year period during 1957-2014 (See the web site in JAMSTEC, http://www.godac.jamstec.go.jp/estoc/e/top/). The ESTOC continue being improved by introducing new observational elements (e.g., ocean mixing, a global sea level). Deep and BGC float data can be assimilated into the system after 2016. Some methodology for deep float data to be integrated was developed and published in 2018.

JCOPE2 (Japan Coastal Ocean Predictability Experiment 2) is the model for prediction of the oceanic variation around Japan which is operated by Application Laboratory of JAMSTEC. JCOPE2 is the second version of JCOPE1, developed with enhanced model and data assimilation schemes. The Argo data are used by way of GTSPP. The reanalysis data 25 years back (from 1993 to present) and the forecast data 2 months ahead are disclosed on the following web site: http://www.jamstec.go.jp/frcgc/jcope/.  More information are shown in

http://www.jamstec.go.jp/frcgc/jcope/htdocs/jcope_system_description.html.

FRA-ROMS is the nowcast and forecast system for the Western North Pacific Ocean developed by Japan Fisheries Research and Education Agency (FRA) based on the Regional Ocean Modeling System (ROMS). Instead of FRA-JCOPE, which was the previous system of providing the hydrographic forecast information around Japan, FRA started the FRA-ROMS operation in May 2012. Argo has been one of important sources of in-situ data for the FRA-ROMS data assimilation system. The forecast oceanographic fields are provided every week on the website http://fm.dc.affrc.go.jp/fra-roms/index.html/.

5. Issues that our country wishes to be considered and resolved by the Argo Steering Team regarding the international operation of Argo.

As reported in 2011, EEZ clearance procedure for Argo float deployed by Japanese PIs has been simplified following IOC Resolution XLI-4. This change reduced our time and effort for the process of EEZ clearance significantly. However, the traditional EEZ clearance is still needed for some key countries because Argo national focal points (NFPs) of those countries are not registered on the listed at AIC. Japan Argo hopes for more NFPs especially of nations in and around the Pacific Ocean to be registered to facilitate more timely and optimal deployment of Argo floats. This could be also helpful for smooth implementation of any future extension of Argo.

6. Summary of the number and location of CTD cruise data to the CCHDO website.

Data of 342 CTD casts conducted by JMA in the western North Pacific from October 2017 to May 2018 were uploaded to the CCHDO website.

7. Outreach activity.

In October, 2018, an Argo public lecture was held with the 6th Argo Science Workshop at Hitotsubashi Hall in Tokyo. The public lecture was sponsored by Japan Meteorological Agency and the Japanese Argo Promotion Committee, endorsed by Ministry of Foreign Affairs of Japan, Ministry of Education, Culture, Sports, Science and Technology, Ministry of Land, Infrastructure, Transport and Tourism and Japan Coast Guard. Over 120 public citizens participated and three talks related to recent Argo activities and results were given by Dr. K. Johnson, Dr. G.C. Johnson and Dr. T. Suga. .

There are two press releases in 2018: scientific one by Dr. T. Kobayashi about a new finding of deep-water changes in the Southern Ocean with Deep floats, and the other on 2,000,000 profile celebration. Both make some articles on several Japanese newspapers.

Two public events were led by JAMSTEC in Yokosuka and Mutsu, where Argo float series are introduced and some related contents are exposed.

8. Argo bibliography

(1) Articles

Masuda, S., S. Osafune, and T. Hemmi (2018), Deep-float salinity data synthesis for deep ocean state estimation: Method and impact, Progress in Earth and Planetary Science, DOI: 10.1186/s40645-018-0247-9.

Nagura, M. (2018), Annual Rossby waves below the pycnocline in the Indian Ocean, Journal of Geophysical Research Oceans, https://doi.org/10.1029/2018JC014362.

Nagura, M., and S. Kouketsu (2018), Spiciness anomalies in the upper South Indian Ocean, Journal of Physical Oceanography, 2081-2101, 49[9], https://doi.org/10.1175/JPO-D-18-0050.1.

Ratnam, J.V., T. Doi, W.A. Landman, and S.K. Behera (2018), Seasonal forecasting of onset of summer rains over South Africa, Journal of Applied Meteorology and Climatology, 10.1175/JAMC-D-18-0067.1.

Doi, T., S. K. Behera, and T. Yamagata (2018), Merits of a 108-member ensemble system in ENSO and IOD predictions, J. Climate.

Tozuka, T., S. Ohishi, M. F. Cronin (2018), A metric for surface heat flux effect on horizontal sea surface temperature, Climate Dynamics, 547-561, 51[1-2], 10.1007/s00382-017-3940-2.

Kouketsu, S. (2018), Spatial Distribution of Diffusivity Coefficients and the Effects on Water Mass Modification in the North Pacific, Journal of Geophysical Research, 4373, 123[6], 10.1029/2018JC013860.

Kobayashi, T. (2018), Rapid volume reduction in Antarctic Bottom Water off the Adélie/George V Land coast observed by deep floats, Deep-Sea Research Part-I, 95-117, 140, https://doi.org/10.1016/j.dsr.2018.07.014.

Horii, T., I. Ueki, and K. Ando (2018), Coastal upwelling events along the southern coast of Java during the 2008 positive Indian Ocean Dipole, Journal of Oceanography, 499-508, 74[5], 10.1007/s10872-018-0475-z.

Ogata, T., T. Doi, Y. Morioka, and S. K. Behera (2018), Mid-latitude source of the ENSO-spread in SINTEX-F ensemble predictions, Climate Dynamics, Climate Dynamics, https://doi.org/10.1007/s00382-018-4280-6.

Morioka, Y., T. Doi, A. Storto, S. Masina, and S. K. Behera (2018), Role of subsurface ocean in decadal climate predictability over the South Atlantic, Scientific Reports, 10.1038/s41598-018-26899-z.

Katsura, S. (2018), Properties, Formation, and Dissipation of the North Pacific Eastern Subtropical Mode Water and Its Impact on Interannual Spiciness Anomalies, Progress in Oceanography, 120-131, 162.

Nagura, M., and M. J. McPhaden (2018), The shallow overturning circulation in the Indian Ocean, Journal Physical Oceanography, 413-434, 48[2], 10.1175/JPO-D-17-0127.1.

Furue, R., K. Takatama, H. Sasaki, N. Schneider, M. Nonaka, and B. Taguchi (2018), Impacts of sea-surface salinity in an eddy-resolving semi-global OGCM, Ocean Modelling, 36-56, 122, 10.1016/j.ocemod.2017.11.004.

(2) Doctorate thesis

Ito, D. (2018), Oceanic submesoscale phenomena and high vertical wavenumber structures, Doctorate Thesis, Tohoku Univercity,